{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["第1页"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"第1页","index":0,"n_rows":48,"n_cols":37,"rows_kept":48,"merged":[[0,0,48,0],[0,1,0,32],[0,33,48,33],[1,1,1,32],[2,1,2,26],[3,1,3,32],[4,1,4,4],[4,5,4,10],[4,11,4,15],[4,16,4,20],[4,21,4,24],[4,25,4,32],[5,1,5,4],[5,5,5,10],[5,11,5,15],[5,16,5,20],[5,21,5,24],[5,25,5,32],[6,1,6,4],[6,5,6,10],[6,11,6,15],[6,16,6,20],[6,21,6,24],[6,25,6,32],[7,1,7,4],[7,5,7,32],[8,1,8,9],[8,10,8,13],[8,14,8,16],[8,17,8,26],[8,27,8,32],[9,1,13,1],[9,3,9,9],[9,10,9,13],[9,17,9,26],[9,27,9,32],[10,3,10,9],[10,10,10,13],[10,17,10,26],[10,27,10,32],[11,3,11,9],[11,10,11,13],[11,17,11,26],[11,27,11,32],[12,3,12,9],[12,10,12,13],[12,17,12,26],[12,27,12,32],[13,3,13,9],[13,10,13,13],[13,17,13,26],[13,27,13,32],[14,1,41,1],[14,2,15,2],[14,3,14,9],[14,10,14,13],[14,17,14,26],[14,27,14,32],[15,3,15,9],[15,10,15,13],[15,17,15,26],[15,27,15,32],[16,2,17,2],[16,3,16,9],[16,10,16,13],[16,17,16,26],[16,27,16,32],[17,3,17,9],[17,10,17,13],[17,17,17,26],[17,27,17,32],[18,3,18,9],[18,10,18,13],[18,17,18,26],[18,27,18,32],[19,2,20,2],[19,3,19,9],[19,10,19,13],[19,17,19,26],[19,27,19,32],[20,3,20,9],[20,10,20,13],[20,17,20,26],[20,27,20,32],[21,2,23,2],[21,3,21,9],[21,10,21,13],[21,17,21,26],[21,27,21,32],[22,3,22,9],[22,10,22,13],[22,17,22,26],[22,27,22,32],[23,3,23,9],[23,10,23,13],[23,17,23,26],[23,27,23,32],[24,2,41,2],[24,3,41,3],[24,4,24,9],[24,10,24,13],[24,27,24,32],[25,4,25,9],[25,10,25,13],[25,27,25,32],[26,4,35,4],[26,5,27,6],[26,7,26,9],[26,10,26,13],[26,27,26,32],[27,7,27,9],[27,10,27,13],[27,27,27,32],[28,5,31,6],[28,7,29,7],[28,8,28,9],[28,10,28,13],[28,27,28,32],[29,8,29,9],[29,10,29,13],[29,27,29,32],[30,7,31,7],[30,8,30,9],[30,10,30,13],[30,27,30,32],[31,8,31,9],[31,10,31,13],[31,27,31,32],[32,5,33,6],[32,7,32,9],[32,10,32,13],[32,27,32,32],[33,7,33,9],[33,10,33,13],[33,27,33,32],[34,5,35,6],[34,7,34,9],[34,10,34,13],[34,27,34,32],[35,7,35,9],[35,10,35,13],[35,27,35,32],[36,4,41,4],[36,5,37,6],[36,7,36,9],[36,10,36,13],[36,27,36,32],[37,7,37,9],[37,10,37,13],[37,27,37,32],[38,5,39,6],[38,7,38,9],[38,10,38,13],[38,27,38,32],[39,7,39,9],[39,10,39,13],[39,27,39,32],[40,5,41,6],[40,7,40,9],[40,10,40,13],[40,27,40,32],[41,7,41,9],[41,10,41,13],[41,27,41,32],[42,1,44,6],[42,7,44,16],[42,17,44,17],[42,18,42,22],[42,23,42,32],[43,18,43,22],[43,23,43,32],[44,18,44,32],[45,1,47,6],[45,7,47,16],[45,17,47,17],[45,18,45,32],[46,18,46,22],[46,23,46,32],[47,18,47,32],[48,1,48,32]],"flags":["formulas_cached_only"]}
[]
[null,"排水管道及配件安装检验批质量验收记录\r\n"]
[null,"GD-C3-5164",{"$nulls":25},"0",null,"0",null,"1"]
[]
[null,"单位(子单位)\r\n工程名称",{"$nulls":3},"铭智资料培训中心",{"$nulls":5},"分部(子分部)\r\n工程名称",{"$nulls":4},"建筑给水排水及供暖-室内排水系统",{"$nulls":4},"分项工程\r\n名称",{"$nulls":3},"排水管道及配件安装"]
[null,"总承包\r\n施工单位",{"$nulls":9},"项目负责人",{"$nulls":9},"检验批容量"]
[null,"专业承(分)\r\n包单位",{"$nulls":3},"/",{"$nulls":5},"项目负责人",{"$nulls":9},"检验批部位",{"$nulls":3},"GD-C3-5164 排水管道及配件安装检验批质量验收记录"]
[null,"施工、验收\r\n依据",{"$nulls":3},"建筑给水排水及供暖施工方案/《建筑给水排水及采暖工程质量验收规范》GB50242-2002"]
[null,"验收项目",{"$nulls":8},"设计要求及\r\n规范规定",{"$nulls":3},"最小/实际\r\n抽样数量",null,null,"检查记录",{"$nulls":9},"检查\r\n结果",{"$nulls":6},"应测点数","合格点数","合格率"]
[null,"主控项目",1,"排水管道灌水试验",{"$nulls":6},"第5.2.1条",{"$nulls":4},"/"]
[null,null,2,"生活污水铸铁管坡度",{"$nulls":6},"第5.2.2条",{"$nulls":4},"/"]
[null,null,3,"生活污水塑料管坡度",{"$nulls":6},"第5.2.3条",{"$nulls":4},"/"]
[null,null,4,"排水塑料管安装伸缩节",{"$nulls":6},"设计要求",{"$nulls":4},"/"]
[null,null,5,"排水主立管及水平干管通球试验",{"$nulls":6},"第5.2.5条",{"$nulls":4},"/"]
[null,"一般项目",1,"生活污水管道上设检查口和清扫口",{"$nulls":6},"第5.2.6条",{"$nulls":4},"/"]
[{"$nulls":3},"地下或地板下排水管道的检查口",{"$nulls":6},"第5.2.7条",{"$nulls":4},"/"]
[null,null,2,"金属和塑料管支、吊架安装",{"$nulls":6},"第5.2.8条",{"$nulls":4},"/"]
[{"$nulls":3},"塑料管支、吊架安装",{"$nulls":6},"第5.2.9条",{"$nulls":4},"/"]
[null,null,3,"排水通气管安装",{"$nulls":6},"第5.2.10条",{"$nulls":4},"/"]
[null,null,4,"医院污水需消毒处理",{"$nulls":6},"第5.2.11条",{"$nulls":4},"/"]
[{"$nulls":3},"饮食业工艺排水",{"$nulls":6},"第5.2.12条",{"$nulls":4},"/"]
[null,null,5,"通向室外排水管安装",{"$nulls":6},"第5.2.13条",{"$nulls":4},"/"]
[{"$nulls":3},"室内向室外排水检查井的管道安装",{"$nulls":6},"第5.2.14条",{"$nulls":4},"/"]
[{"$nulls":3},"室内排水管道连接",{"$nulls":6},"第5.2.15条",{"$nulls":4},"/"]
[null,null,6,"排水管安装允许偏差︵\r\nmm︶","坐标",{"$nulls":5},"15",{"$nulls":4},"/"]
[{"$nulls":4},"标高",{"$nulls":5},"±15",{"$nulls":4},"/"]
[{"$nulls":4},"横管纵横方向弯曲","铸铁管",null,"每1m",null,null,"≯1",{"$nulls":4},"/"]
[{"$nulls":7},"全长(25m以上)",null,null,"≯25",{"$nulls":4},"/"]
[{"$nulls":5},"钢管",null,"每1m","管径小于或等于100mm",null,"1",{"$nulls":4},"/"]
[{"$nulls":8},"管径大于100mm",null,"1.5",{"$nulls":4},"/"]
[{"$nulls":7},"全长25m以上","管径小于或等于100mm",null,"≯25",{"$nulls":4},"/"]
[{"$nulls":8},"管径大于100mm",null,"≯38",{"$nulls":4},"/"]
[{"$nulls":5},"塑料管",null,"每1m",null,null,"1.5",{"$nulls":4},"/"]
[{"$nulls":7},"全长(25m以上)",null,null,"≯38",{"$nulls":4},"/"]
[{"$nulls":5},"钢筋混凝土管",null,"每1m",null,null,"3",{"$nulls":4},"/"]
[{"$nulls":7},"全长(25m以上)",null,null,"≯75",{"$nulls":4},"/"]
[{"$nulls":4},"立管垂直度","铸铁管",null,"每1m",null,null,"3",{"$nulls":4},"/"]
[{"$nulls":7},"全长(5m以上)",null,null,"≯15",{"$nulls":4},"/"]
[{"$nulls":5},"钢管",null,"每1m",null,null,"3",{"$nulls":4},"/"]
[{"$nulls":7},"全长(5m以上)",null,null,"≯10",{"$nulls":4},"/"]
[{"$nulls":5},"塑料管",null,"每1m",null,null,"3",{"$nulls":4},"/"]
[{"$nulls":7},"全长(5m以上)",null,null,"≯15",{"$nulls":4},"/"]
[null,"施工单位\r\n检查结果",{"$nulls":16},"施工员："]
[{"$nulls":18},"质量员："]
[{"$nulls":18},"年  月  日"]
[null,"监理单位\r\n验收结论"]
[{"$nulls":18},"专业监理工程师："]
[{"$nulls":18},"年  月  日"]